## Data packet format
Data packet format
| uint8 cmd | [8 empty] | Member | Description | Reply
| uint8 bytes[0] | uint8 bytes[1] | uint8 bytes[2] | uint8 bytes[3] | uint8 bytes[4] | uint8 bytes[5] | uint8 bytes[6] | uint8 bytes[7] | uint8 bytes[8] | uint8 bytes[9]
| uint8 'R' | uint8 addr | [7 empty] | struct Register R | Read register | uint8 value
| uint8 'W' | uint8 addr | uint8 value | [6 empty] | struct Register R | Write register
| uint8 'F' | uint16 fluidics_delay_ms | [7 empty] | struct Fluidics F | Set Fluidics injection delay | OK\n
| uint8 'L' | uint8 active | uint8 idle | bool ALEX | [5 empty] | struct Shutter L | Set Laser shutter states | OK\n
| uint8 'C' | uint16 exp_time_n64us |  | uint16 n_frames | [5 empty] | struct Timer1 T | Start Continuous timer | OK\n
| uint8 'S' | uint16 exp_time_n64us |  | uint16 n_frames |  | uint16 interframe_ time_n64us |  | uint16 timelapse_ delay_s |  | struct Timer1 T | Start Stroboscopic timer | OK\n
| uint8 'E' | uint16 exp_time_n64us | [7 empty] | struct Timer1 T | Change Exposure time | OK\n
| uint8 'Q' | [9 empty] | Stop timer (Quit) | OK\n
i | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
Legend
Color shows belonging to a particular data structure.
Normal font shows data type (uint8, uint16).
Bold font shows member names.
Bold italic shows constant values.
Gray hatched areas are filled with ZERO.
Notes
Each data packet is always 9 byte long. If shorter than 9 bytes, pad it with zeros.
On startup, the system prints Arduino is ready. Firmware version: <x.y.z>\n
Wrong formatted packets are silently ignored (wrong command or shorter than 9 bytes).
If a command has wrong arguments, the reply is ERR\n
Once the data acquisition is completed, the reply is DONE\n